Towards an online MIP calibration

---
Current (WCD) calibration
- WCD offline calibration
  - Fit muon hump in histogram
- WCD online calibration
  - Calibration trigger with threshold , that satisfies:
    - Threefold coinc. of
    - >1 PMT above
  - Iteratively adjust threshold until 70 Hz rate is reached
  - Threshold equals
  - Accurate to ~2%
  - See also GAP2023-049
k
2.5 I_"VEM" " cut" newline"~70 Hz rate"
Streich 2022
0.7 k
1.0 k
I^"WCD"_"hist" = 0.87 I_"VEM"
k approx 2.5 I_"VEM"
change in binning

---
Recap of past work
- GAP2024_023
  - Analyze muon histograms to derive rate-threshold for SSD shower buffer events, predict MIP with it
  - Caveats due to implicit dependence on WCD calib.
- GAP2024_0XX (pending...)
  - Run dedicated tests on Infill stations
  - WCD-independent SSD online calibration feasible
  - Error on rate-based MIP peak < 5% on average

---
Recap of past work
GAP2024_0XX (pending…)
Strong EM background, cause detector deadtimes

---
muonBuffer vs. showerBuffer
- SSD currently in slave mode to WCD
  - Only see events where WCD registered signal
  - Could bias SSD calibration. (i.e. masked/broken WCDs)
  - Change of default trigger settings needed
  Different triggers write in different registers
- T1/2 (Th, ToT-like, etc)
  - Sent to CDAS upon T3 request
  - Handled by Trigger2 process
  → showerBuffer (2048 bins, FBW)
- Muon trigger (SB, >30 ADC)
  - Used to build muon histograms
  - Handled by muonfill process
  → muonBuffer (69 bins, FBW)

---
Backup