Towards a rate-based online MIP peak

---
Recap
- GAP2024_023
  - Analyze muon histograms to derive rate-threshold for SSD shower buffer events, predict MIP with it
  - Caveats due to implicit dependence on WCD calib.
- GAP2024_0XX (pending...)
  - Run dedicated tests on Infill stations
  - WCD-independent SSD online calibration feasible
  - Error on rate-based MIP peak < 5% on average

---
Recap
GAP2024_0XX (pending...)

---
Changes in LS software
- trigger2 process
  - reads ShowerBuffer
    ( = WCD-T1 traces)
  - Handles T2s, etc …
  - online calibration
- mounfill process
  - reads MuonBuffer (now: 1 LMPT > 30 ADC)
  - Builds all histograms used for offline calibration

---
Changes in LS software
- trigger2 process
  - reads ShowerBuffer
    ( = WCD-T1 traces)
  - Handles T2s, etc …
  - online calibration
- mounfill process
  - reads MuonBuffer (now: 1 LMPT > 30 ADC)
  - Builds all histograms used for offline calibration
  - . . .

---
DAQ integration tests
- Test new LS branch on Didi (136)
  - Verify histograms remain unchanged
  - Verify rate-based algorithm converges
  - Compare VEM estimates with trigger2

---
DAQ integration tests
- Test new LS branch on Didi (136)
  - Verify histograms remain unchanged
  - Verify rate-based algorithm converges
  - Compare VEM estimates with trigger2
(✓)

---
DAQ integration tests
- Test new LS branch on Didi (136)
  - Verify histograms remain unchanged
  - Verify rate-based algorithm converges
  - Compare VEM estimates with trigger2
(✓)
✓

---
DAQ integration tests
- Test new LS branch on Didi (136)
  - Verify histograms remain unchanged
  - Verify rate-based algorithm converges
  - Compare VEM estimates with trigger2
(✓)
✓
(✘)

---
Summary and outlook
- Have shown that rate-based online calib. of SSD possible
  - Independent of WCD; Expected errors < 5%
- Implemented online calibration in muonfill process
- DAQ integration tests with new LS software
  - Stable operation for > 14 hours (longer tests needed, though)
  - Histograms remain unchanged (in some cases offset is wrong)
  - Needs to be tested on stations in field at some point
  - Work in progress

---
Backup