Introduction

---
Energy calibration @ FD (and SD by cross calib.)
E ~ Leftarrow ~ N_%gamma ~ sim ~ S_"FD" ~ C_"FD"
Calibration constant
Number of observed photons
Signal strength in camera

---
Energy calibration @ FD (and SD by cross calib.)
E ~ Leftarrow ~ N_%gamma ~ sim ~ S_"FD" ~ C_"FD"
- Track relative drift by exposing camera to known light source
- Blind to changes in mirror/filter!
- Combined calibration error of ~9%
2013
Expose telescope to lightsource and measure response to (known) signal
Mean pixel calibration constant for 2-week period in november 2022, from Calibration A

---
The XY Scanner – size matters
  - Sum of many measurements at different positions mimic the drum
  - Portable light source
  - Absolute calibration is possible on- and off-site
  Scanner control
  Light source
  X stage
  Y stage
LED

---
Probing the light source

---
Backup